{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":489,"n_cols":11,"rows_kept":489,"merged":[[0,0,0,10],[1,8,2,8],[1,9,2,9],[1,10,2,10]],"flags":["formulas_cached_only"]}
["天华富邦废水监测数据公示表"]
["监测时间","废水排放量（吨）","化学需氧量监测浓度(mg/L)","PH","氨氮监测浓度(mg/L)","石油类(mg/L)","悬浮物(mg/L)","硫化物(mg/L)","排放方式及去向","达标情况","超标倍数"]
[null,null,"限值＜100mg/L","6—9","限值＜15mg/L","限值＜5mg/L","限值＜70mg/L","限值＜1mg/L"]
["2018-01-01",1845.16,26.78,{"$nulls":5},"直排小殿溪","达标"]
["2018-01-02",1882.04,25.67,{"$nulls":5},"直排小殿溪","达标"]
["2018-01-03",1971.34,29.02,{"$nulls":5},"直排小殿溪","达标"]
["2018-01-04",1894.35,30.62,{"$nulls":5},"直排小殿溪","达标"]
["2018-01-05",1827.64,30.86,{"$nulls":5},"直排小殿溪","达标"]
["2018-01-06",1859.85,29.85,{"$nulls":5},"直排小殿溪","达标"]
["2018-01-07",1857.58,34.61,{"$nulls":5},"直排小殿溪","达标"]
["2018-01-08",1869.08,36,{"$nulls":5},"直排小殿溪","达标"]
["2018-01-09",1835.82,31.3,{"$nulls":5},"直排小殿溪","达标"]
["2018-01-10",1832.65,31.49,{"$nulls":5},"直排小殿溪","达标"]
["2018-01-11",1850.88,36.24,{"$nulls":5},"直排小殿溪","达标"]
["2018-01-12",1847.86,36.11,{"$nulls":5},"直排小殿溪","达标"]
["2018-01-13",1903.21,35.78,{"$nulls":5},"直排小殿溪","达标"]
["2018-01-14",1946.51,29.9,{"$nulls":5},"直排小殿溪","达标"]
["2018-01-15",1958.75,25.69,{"$nulls":5},"直排小殿溪","达标"]
["2018-01-16",1966.1,34.04,{"$nulls":5},"直排小殿溪","达标"]
["2018-01-17",1986.75,33.79,{"$nulls":5},"直排小殿溪","达标"]
["2018-01-18",1965.68,29.48,8.08,2.28,0.72,4,0.184,"直排小殿溪","达标"]
["2018-01-19",1953.16,29.14,{"$nulls":5},"直排小殿溪","达标"]
["2018-01-20",1829.68,29.44,{"$nulls":5},"直排小殿溪","达标"]
["2018-01-21",1670.79,17.65,{"$nulls":5},"直排小殿溪","达标"]
["2018-01-22",1689.49,18.1,{"$nulls":5},"直排小殿溪","达标"]
["2018-01-23",1672.9,27.94,{"$nulls":5},"直排小殿溪","达标"]
["2018-01-24",1678.52,28.09,{"$nulls":5},"直排小殿溪","达标"]
["2018-01-25",1691.89,22.3,{"$nulls":5},"直排小殿溪","达标"]
["2018-01-26",1694.48,18.87,{"$nulls":5},"直排小殿溪","达标"]
["2018-01-27",1732.25,21.26,{"$nulls":5},"直排小殿溪","达标"]
["2018-01-28",1697.65,17.01,{"$nulls":5},"直排小殿溪","达标"]
["2018-01-29",1683.96,17.56,{"$nulls":5},"直排小殿溪","达标"]
["2018-01-30",1685.94,14.72,{"$nulls":5},"直排小殿溪","达标"]
["2018-01-31",1694.8,18.89,{"$nulls":5},"直排小殿溪","达标"]
["2018-02-01",1683.96,22.85,{"$nulls":5},"直排小殿溪","达标"]
["2018-02-02",1710.98,21.11,{"$nulls":5},"直排小殿溪","达标"]
["2018-02-03",1764.23,15.63,{"$nulls":5},"直排小殿溪","达标"]
["2018-02-04",1775.09,15.65,{"$nulls":5},"直排小殿溪","达标"]
["2018-02-05",1749.14,15.53,{"$nulls":5},"直排小殿溪","达标"]
["2018-02-06",1749.36,15.95,{"$nulls":5},"直排小殿溪","达标"]
["2018-02-07",1723.92,15.07,{"$nulls":5},"直排小殿溪","达标"]
["2018-02-08",1734.19,14.21,8.17,1,1.07,5.5,0.152,"直排小殿溪","达标"]
["2018-02-09",1681.1,15.78,{"$nulls":5},"直排小殿溪","达标"]
["2018-02-10",1711.98,14.28,{"$nulls":5},"直排小殿溪","达标"]
["2018-02-11",1776.84,17.51,{"$nulls":5},"直排小殿溪","达标"]
["2018-02-12",1795.25,17.35,{"$nulls":5},"直排小殿溪","达标"]
["2018-02-13",1746.53,22.43,{"$nulls":5},"直排小殿溪","达标"]
["2018-02-14",1683.76,26.13,{"$nulls":5},"直排小殿溪","达标"]
["2018-02-15",1666.31,35.62,{"$nulls":5},"直排小殿溪","达标"]
["2018-02-16",1656.46,37.93,{"$nulls":5},"直排小殿溪","达标"]
["2018-02-17",1684.05,34.1,{"$nulls":5},"直排小殿溪","达标"]
["2018-02-18",1636.11,59.55,{"$nulls":5},"直排小殿溪","达标"]
["2018-02-19",1663.2,47.2,{"$nulls":5},"直排小殿溪","达标"]
["2018-02-20",1630.8,36.36,{"$nulls":5},"直排小殿溪","达标"]
["2018-02-21",1608.32,214.17,{"$nulls":5},"直排小殿溪","达标"]
["2018-02-22",1695.81,142.96,{"$nulls":5},"直排小殿溪","达标"]
["2018-02-23",1686.96,20.89,{"$nulls":5},"直排小殿溪","达标"]
["2018-02-24",1748.29,21.73,{"$nulls":5},"直排小殿溪","达标"]
["2018-02-25",1821.2,71.44,{"$nulls":5},"直排小殿溪","达标"]
["2018-02-26",1848.93,13.32,{"$nulls":5},"直排小殿溪","达标"]
["2018-02-27",1858.83,13.2,{"$nulls":5},"直排小殿溪","达标"]
["2018-02-28",1847.6,13.88,{"$nulls":5},"直排小殿溪","达标"]
["2018-03-01",1830.69,17.76,{"$nulls":5},"直排小殿溪","达标"]
["2018-03-02",1814.93,28.69,{"$nulls":5},"直排小殿溪","达标"]
["2018-03-03",1807.34,34.12,{"$nulls":5},"直排小殿溪","达标"]
["2018-03-04",1816.38,38.66,{"$nulls":5},"直排小殿溪","达标"]
["2018-03-05",1854.02,41.39,{"$nulls":5},"直排小殿溪","达标"]
["2018-03-06",1821.28,28.01,{"$nulls":5},"直排小殿溪","达标"]
["2018-03-07",1740.75,25.14,{"$nulls":5},"直排小殿溪","达标"]
["2018-03-08",1730.89,31.59,{"$nulls":5},"直排小殿溪","达标"]
["2018-03-09",1713.05,18.6,{"$nulls":5},"直排小殿溪","达标"]
["2018-03-10",1688.3,21.75,{"$nulls":5},"直排小殿溪","达标"]
["2018-03-11",1707.06,22.21,{"$nulls":5},"直排小殿溪","达标"]
["2018-03-12",1676.74,20.09,{"$nulls":5},"直排小殿溪","达标"]
["2018-03-13",1678.62,18.51,{"$nulls":5},"直排小殿溪","达标"]
["2018-03-14",1737.1,14.63,{"$nulls":5},"直排小殿溪","达标"]
["2018-03-15",1645.47,21.8,{"$nulls":5},"直排小殿溪","达标"]
["2018-03-16",1706.7,21.47,{"$nulls":5},"直排小殿溪","达标"]
["2018-03-17",1704.33,24.19,{"$nulls":5},"直排小殿溪","达标"]
["2018-03-18",1739.81,14.87,{"$nulls":5},"直排小殿溪","达标"]
["2018-03-19",1734.24,17.42,{"$nulls":5},"直排小殿溪","达标"]
["2018-03-20",1668.46,21.18,{"$nulls":5},"直排小殿溪","达标"]
["2018-03-21",1707.42,23.67,{"$nulls":5},"直排小殿溪","达标"]
["2018-03-22",1721.57,21.84,{"$nulls":5},"直排小殿溪","达标"]
["2018-03-23",1683.15,17.03,{"$nulls":5},"直排小殿溪","达标"]
["2018-03-24",1760.19,14.24,{"$nulls":5},"直排小殿溪","达标"]
["2018-03-25",1830.63,17.15,{"$nulls":5},"直排小殿溪","达标"]
["2018-03-26",1779.07,19.76,{"$nulls":5},"直排小殿溪","达标"]
["2018-03-27",1764.01,25.84,{"$nulls":5},"直排小殿溪","达标"]
["2018-03-28",1721.81,16.14,{"$nulls":5},"直排小殿溪","达标"]
["2018-03-29",1732.26,17.13,7.69,4.92,{"v":0.95,"d":"1.0"},6,0.166,"直排小殿溪","达标"]
["2018-03-30",1709.42,20.49,{"$nulls":5},"直排小殿溪","达标"]
["2018-03-31",1760.81,12.53,{"$nulls":5},"直排小殿溪","达标"]
["2018-04-01",1721.72,16.84,{"$nulls":5},"直排小殿溪","达标"]
["2018-04-02",1729.34,21.68,{"$nulls":5},"直排小殿溪","达标"]
["2018-04-03",1731.29,12.95,{"$nulls":5},"直排小殿溪","达标"]
["2018-04-04",1722.93,17.64,{"$nulls":5},"直排小殿溪","达标"]
["2018-04-05",1757.17,13.46,{"$nulls":5},"直排小殿溪","达标"]
["2018-04-06",1758.39,14.37,{"$nulls":5},"直排小殿溪","达标"]
["2018-04-07",1712.9,14.29,{"$nulls":5},"直排小殿溪","达标"]
["2018-04-08",1691.18,14.62,{"$nulls":5},"直排小殿溪","达标"]
["2018-04-09",1681.82,14.56,{"$nulls":5},"直排小殿溪","达标"]
["2018-04-10",1692.19,20.2,{"$nulls":5},"直排小殿溪","达标"]
["2018-04-11",1697.36,12.91,{"$nulls":5},"直排小殿溪","达标"]
["2018-04-12",1612.58,13.04,7.82,1.95,1.07,12,0.118,"直排小殿溪","达标"]
["2018-04-13",2010.74,14.13,{"$nulls":5},"直排小殿溪","达标"]
["2018-04-14",1514.76,12.17,{"$nulls":5},"直排小殿溪","达标"]
["2018-04-15",1136.73,13.3,{"$nulls":5},"直排小殿溪","达标"]
["2018-04-16",1476.7,14.58,{"$nulls":5},"直排小殿溪","达标"]
["2018-04-17",1868.95,18.09,{"$nulls":5},"直排小殿溪","达标"]
["2018-04-18",1830.93,21.52,{"$nulls":5},"直排小殿溪","达标"]
["2018-04-19",1615.62,15.53,{"$nulls":5},"直排小殿溪","达标"]
["2018-04-20",1411.29,19.8,{"$nulls":5},"直排小殿溪","达标"]
["2018-04-21",1491,22.13,{"$nulls":5},"直排小殿溪","达标"]
["2018-04-22",1827.55,19.68,{"$nulls":5},"直排小殿溪","达标"]
["2018-04-23",1477.38,28.41,{"$nulls":5},"直排小殿溪","达标"]
["2018-04-24",1565.74,22.48,{"$nulls":5},"直排小殿溪","达标"]
["2018-04-25",1591.13,15.14,{"$nulls":5},"直排小殿溪","达标"]
["2018-04-26",1522.75,26.1,{"$nulls":5},"直排小殿溪","达标"]
["2018-04-27",1575.66,29.94,{"$nulls":5},"直排小殿溪","达标"]
["2018-04-28",1641.81,18.48,{"$nulls":5},"直排小殿溪","达标"]
["2018-04-29",1602.2,19.98,{"$nulls":5},"直排小殿溪","达标"]
["2018-04-30",1512.48,28.57,{"$nulls":5},"直排小殿溪","达标"]
["2018-05-01",1302.12,29.05,{"$nulls":5},"直排小殿溪","达标"]
["2018-05-02",1381.75,26.78,{"$nulls":5},"直排小殿溪","达标"]
["2018-05-03",1443.37,25.84,7.77,1.22,{"v":0.95,"d":"1.0"},4,0.156,"直排小殿溪","达标"]
["2018-05-04",1247.45,32.52,{"$nulls":5},"直排小殿溪","达标"]
["2018-05-05",1506.76,30,{"$nulls":5},"直排小殿溪","达标"]
["2018-05-06",1604.29,36.76,{"$nulls":5},"直排小殿溪","达标"]
["2018-05-07",1520.5,30.72,{"$nulls":5},"直排小殿溪","达标"]
["2018-05-08",1511.01,25.34,{"$nulls":5},"直排小殿溪","达标"]
["2018-05-09",1753.95,20.52,{"$nulls":5},"直排小殿溪","达标"]
["2018-05-10",1525.77,25.94,{"$nulls":5},"直排小殿溪","达标"]
["2018-05-11",1702.44,22,{"$nulls":5},"直排小殿溪","达标"]
["2018-05-12",1568.4,12.52,{"$nulls":5},"直排小殿溪","达标"]
["2018-05-13",1605.16,14.21,{"$nulls":5},"直排小殿溪","达标"]
["2018-05-14",1482.64,12.73,{"$nulls":5},"直排小殿溪","达标"]
["2018-05-15",1402.81,16.7,{"$nulls":5},"直排小殿溪","达标"]
["2018-05-16",1195.3,18.72,{"$nulls":5},"直排小殿溪","达标"]
["2018-05-17",1284.96,12.28,{"$nulls":5},"直排小殿溪","达标"]
["2018-05-18",1358.69,16.12,{"$nulls":5},"直排小殿溪","达标"]
["2018-05-19",1289.58,14.8,{"$nulls":5},"直排小殿溪","达标"]
["2018-05-20",1221.2,17.41,{"$nulls":5},"直排小殿溪","达标"]
["2018-05-21",1429.74,21.02,{"$nulls":5},"直排小殿溪","达标"]
["2018-05-22",1701.11,24.74,{"$nulls":5},"直排小殿溪","达标"]
["2018-05-23",1446.91,26.96,{"$nulls":5},"直排小殿溪","达标"]
["2018-05-24",1462.67,15.84,{"$nulls":5},"直排小殿溪","达标"]
["2018-05-25",1483.42,16.77,{"$nulls":5},"直排小殿溪","达标"]
["2018-05-26",1423.27,21.03,{"$nulls":5},"直排小殿溪","达标"]
["2018-05-27",1604.56,20.71,{"$nulls":5},"直排小殿溪","达标"]
["2018-05-28",1589.9,21.08,{"$nulls":5},"直排小殿溪","达标"]
["2018-05-29",1569.85,22.09,{"$nulls":5},"直排小殿溪","达标"]
["2018-05-30",1644.33,30.65,{"$nulls":5},"直排小殿溪","达标"]
["2018-05-31",1574.74,33.74,{"$nulls":5},"直排小殿溪","达标"]
["2018-06-01",1063.47,29.89,{"$nulls":5},"直排小殿溪","达标"]
["2018-06-02",1672.51,26.85,{"$nulls":5},"直排小殿溪","达标"]
["2018-06-03",1586.94,34.16,{"$nulls":5},"直排小殿溪","达标"]
["2018-06-04",1557.47,25.43,{"$nulls":5},"直排小殿溪","达标"]
["2018-06-05",1534.51,23.437,{"$nulls":5},"直排小殿溪","达标"]
["2018-06-06",1503.51,23.953,{"$nulls":5},"直排小殿溪","达标"]
["2018-06-07",1502.37,21.267,8.03,5.4,{"v":1.25,"d":"1.3"},7,0.147,"直排小殿溪","达标"]
["2018-06-08",1622.3,24.864,{"$nulls":5},"直排小殿溪","达标"]
["2018-06-09",1569.61,16.167,{"$nulls":5},"直排小殿溪","达标"]
["2018-06-10",1544.49,22.063,{"$nulls":5},"直排小殿溪","达标"]
["2018-06-11",1617.94,16.425,{"$nulls":5},"直排小殿溪","达标"]
["2018-06-12",1626.9,30.494,{"$nulls":5},"直排小殿溪","达标"]
["2018-06-13",1367.77,28.602,{"$nulls":5},"直排小殿溪","达标"]
["2018-06-14",1584.5,19.966,{"$nulls":5},"直排小殿溪","达标"]
["2018-06-15",1638.28,21.134,{"$nulls":5},"直排小殿溪","达标"]
["2018-06-16",1658.04,21.034,{"$nulls":5},"直排小殿溪","达标"]
["2018-06-17",1633.82,29.77,{"$nulls":5},"直排小殿溪","达标"]
["2018-06-18",1603.18,29.52,{"$nulls":5},"直排小殿溪","达标"]
["2018-06-19",1528.77,21.041,{"$nulls":5},"直排小殿溪","达标"]
["2018-06-20",1548.32,18.627,{"$nulls":5},"直排小殿溪","达标"]
["2018-06-21",1597.29,21.243,{"$nulls":5},"直排小殿溪","达标"]
["2018-06-22",1515.79,24.613,{"$nulls":5},"直排小殿溪","达标"]
["2018-06-23",1373.7,22.073,{"$nulls":5},"直排小殿溪","达标"]
["2018-06-24",1297.95,24.036,{"$nulls":5},"直排小殿溪","达标"]
["2018-06-25",1458.97,31.376,{"$nulls":5},"直排小殿溪","达标"]
["2018-06-26",1468.95,29.048,{"$nulls":5},"直排小殿溪","达标"]
["2018-06-27",1476.27,21.018,{"$nulls":5},"直排小殿溪","达标"]
["2018-06-28",1492.69,25.298,{"$nulls":5},"直排小殿溪","达标"]
["2018-06-29",1671.36,26.08,{"$nulls":5},"直排小殿溪","达标"]
["2018-06-30",1797.32,20.058,{"$nulls":5},"直排小殿溪","达标"]
["2018-07-01",1843.1,19.995,{"$nulls":5},"直排小殿溪","达标"]
["2018-07-02",1351.52,27.01,{"$nulls":5},"直排小殿溪","达标"]
["2018-07-03",0,29.787,{"$nulls":5},"直排小殿溪","达标"]
["2018-07-04",0,73.332,{"$nulls":5},"直排小殿溪","达标"]
["2018-07-05",0,21.557,{"$nulls":5},"直排小殿溪","达标"]
["2018-07-06",0,29.876,{"$nulls":5},"直排小殿溪","达标"]
["2018-07-07",0,32.434,{"$nulls":5},"直排小殿溪","达标"]
["2018-07-08",0,27.944,{"$nulls":5},"直排小殿溪","达标"]
["2018-07-09",0,23.08,{"$nulls":5},"直排小殿溪","达标"]
["2018-07-10",0,18.23,{"$nulls":5},"直排小殿溪","达标"]
["2018-07-11",0,16.893,{"$nulls":5},"直排小殿溪","达标"]
["2018-07-12",0,16.917,7.46,0.48,{"v":0.73,"d":"0.7"},3.5,0.098,"直排小殿溪","达标"]
["2018-07-13",0,17.995,{"$nulls":5},"直排小殿溪","达标"]
["2018-07-14",0,19.209,{"$nulls":5},"直排小殿溪","达标"]
["2018-07-15",1015.771,14.104,{"$nulls":5},"直排小殿溪","达标"]
["2018-07-16",1866.114,13.984,{"$nulls":5},"直排小殿溪","达标"]
["2018-07-17",1960.684,13.242,{"$nulls":5},"直排小殿溪","达标"]
["2018-07-18",1711.918,14.152,{"$nulls":5},"直排小殿溪","达标"]
["2018-07-19",1592.351,17.165,{"$nulls":5},"直排小殿溪","达标"]
["2018-07-20",1672.63,12.218,{"$nulls":5},"直排小殿溪","达标"]
["2018-07-21",1578.321,12.172,{"$nulls":5},"直排小殿溪","达标"]
["2018-07-22",1567.515,12.232,{"$nulls":5},"直排小殿溪","达标"]
["2018-07-23",1582.009,12.27,{"$nulls":5},"直排小殿溪","达标"]
["2018-07-24",1697.12,12.118,{"$nulls":5},"直排小殿溪","达标"]
["2018-07-25",1689.925,13.889,{"$nulls":5},"直排小殿溪","达标"]
["2018-07-26",1698.094,19.21,{"$nulls":5},"直排小殿溪","达标"]
["2018-07-27",1511.2,19.034,{"$nulls":5},"直排小殿溪","达标"]
["2018-07-28",1560.542,19.296,{"$nulls":5},"直排小殿溪","达标"]
["2018-07-29",1414.822,19.256,{"$nulls":5},"直排小殿溪","达标"]
["2018-07-30",1548.458,24.248,{"$nulls":5},"直排小殿溪","达标"]
["2018-07-31",1491.169,26.093,{"$nulls":5},"直排小殿溪","达标"]
["2018-08-01",1669.953,25.732,{"$nulls":5},"直排小殿溪","达标"]
["2018-08-02",1536.465,24.154,{"$nulls":5},"直排小殿溪","达标"]
["2018-08-03",1716.171,20.633,{"$nulls":5},"直排小殿溪","达标"]
["2018-08-04",1539.666,17.41,{"$nulls":5},"直排小殿溪","达标"]
["2018-08-05",1389.239,38.558,{"$nulls":5},"直排小殿溪","达标"]
["2018-08-06",1503.568,19.147,{"$nulls":5},"直排小殿溪","达标"]
["2018-08-07",1461.821,19.194,{"$nulls":5},"直排小殿溪","达标"]
["2018-08-08",1263.57,19.791,{"$nulls":5},"直排小殿溪","达标"]
["2018-08-09",1414.951,21.598,7.64,0.99,{"v":0.92,"d":"0.9"},5.5,0.093,"直排小殿溪","达标"]
["2018-08-10",1306.709,22.727,{"$nulls":5},"直排小殿溪","达标"]
["2018-08-11",1650.184,24.859,{"$nulls":5},"直排小殿溪","达标"]
["2018-08-12",1612.919,25.757,{"$nulls":5},"直排小殿溪","达标"]
["2018-08-13",1413.555,25.32,{"$nulls":5},"直排小殿溪","达标"]
["2018-08-14",1444.751,24.759,{"$nulls":5},"直排小殿溪","达标"]
["2018-08-15",1673.256,27.226,{"$nulls":5},"直排小殿溪","达标"]
["2018-08-16",1517.917,26.933,{"$nulls":5},"直排小殿溪","达标"]
["2018-08-17",1545.89,25.841,{"$nulls":5},"直排小殿溪","达标"]
["2018-08-18",1611.063,23.81,{"$nulls":5},"直排小殿溪","达标"]
["2018-08-19",1564.271,25.729,{"$nulls":5},"直排小殿溪","达标"]
["2018-08-20",1425.362,25.437,{"$nulls":5},"直排小殿溪","达标"]
["2018-08-21",1345.235,27.24,{"$nulls":5},"直排小殿溪","达标"]
["2018-08-22",1897.636,29.53,{"$nulls":5},"直排小殿溪","达标"]
["2018-08-23",1554.179,27.449,{"$nulls":5},"直排小殿溪","达标"]
["2018-08-24",1547.169,21.537,{"$nulls":5},"直排小殿溪","达标"]
["2018-08-25",1565.292,12.457,{"$nulls":5},"直排小殿溪","达标"]
["2018-08-26",1464.353,12.665,{"$nulls":5},"直排小殿溪","达标"]
["2018-08-27",1535.159,16.323,{"$nulls":5},"直排小殿溪","达标"]
["2018-08-28",1438.543,27.52,{"$nulls":5},"直排小殿溪","达标"]
["2018-08-29",1407.059,34.586,{"$nulls":5},"直排小殿溪","达标"]
["2018-08-30",1447.402,44.693,{"$nulls":5},"直排小殿溪","达标"]
["2018-08-31",1411.783,24.367,{"$nulls":5},"直排小殿溪","达标"]
["2018-09-01",1458.335,27.928,{"$nulls":5},"直排小殿溪","达标"]
["2018-09-02",1394.108,27.84,{"$nulls":5},"直排小殿溪","达标"]
["2018-09-03",1418.297,23.221,{"$nulls":5},"直排小殿溪","达标"]
["2018-09-04",1454.271,19.171,{"$nulls":5},"直排小殿溪","达标"]
["2018-09-05",1489.054,18.164,{"$nulls":5},"直排小殿溪","达标"]
["2018-09-06",1572.045,16.045,7.43,0.96,0.89,4,0.105,"直排小殿溪","达标"]
["2018-09-07",1595.16,17.596,{"$nulls":5},"直排小殿溪","达标"]
["2018-09-08",1697.292,21.642,{"$nulls":5},"直排小殿溪","达标"]
["2018-09-09",1647.513,21.977,{"$nulls":5},"直排小殿溪","达标"]
["2018-09-10",1681.057,24.534,{"$nulls":5},"直排小殿溪","达标"]
["2018-09-11",1616.78,22.216,{"$nulls":5},"直排小殿溪","达标"]
["2018-09-12",1745.248,22.774,{"$nulls":5},"直排小殿溪","达标"]
["2018-09-13",1726.097,23.453,{"$nulls":5},"直排小殿溪","达标"]
["2018-09-14",1758.796,26.571,{"$nulls":5},"直排小殿溪","达标"]
["2018-09-15",1759.729,26.672,{"$nulls":5},"直排小殿溪","达标"]
["2018-09-16",1754.744,28.116,{"$nulls":5},"直排小殿溪","达标"]
["2018-09-17",1813.047,29.857,{"$nulls":5},"直排小殿溪","达标"]
["2018-09-18",1814.533,27.649,{"$nulls":5},"直排小殿溪","达标"]
["2018-09-19",1640.78,25.25,{"$nulls":5},"直排小殿溪","达标"]
["2018-09-20",1738.129,20.731,{"$nulls":5},"直排小殿溪","达标"]
["2018-09-21",1496.545,21.568,{"$nulls":5},"直排小殿溪","达标"]
["2018-09-22",1737.263,24.773,{"$nulls":5},"直排小殿溪","达标"]
["2018-09-23",1750.926,21.89,{"$nulls":5},"直排小殿溪","达标"]
["2018-09-24",2049.056,21.579,{"$nulls":5},"直排小殿溪","达标"]
["2018-09-25",2226.356,20.18,{"$nulls":5},"直排小殿溪","达标"]
["2018-09-26",2267.076,18.899,{"$nulls":5},"直排小殿溪","达标"]
["2018-09-27",1959.729,16.615,{"$nulls":5},"直排小殿溪","达标"]
["2018-09-28",1617.211,15.944,{"$nulls":5},"直排小殿溪","达标"]
["2018-09-29",1430.042,19.94,{"$nulls":5},"直排小殿溪","达标"]
["2018-09-30",1446.565,33.228,{"$nulls":5},"直排小殿溪","达标"]
["2018-10-01",1466.36,29.68,{"$nulls":5},"直排小殿溪","达标"]
["2018-10-02",1453.96,31.12,{"$nulls":5},"直排小殿溪","达标"]
["2018-10-03",1466.13,25.53,{"$nulls":5},"直排小殿溪","达标"]
["2018-10-04",1507.12,21.82,{"$nulls":5},"直排小殿溪","达标"]
["2018-10-05",1431.82,22.21,{"$nulls":5},"直排小殿溪","达标"]
["2018-10-06",1592.3,26.65,{"$nulls":5},"直排小殿溪","达标"]
["2018-10-07",2139.19,19.7,{"$nulls":5},"直排小殿溪","达标"]
["2018-10-08",1888.66,15.69,{"$nulls":5},"直排小殿溪","达标"]
["2018-10-09",1663.81,15.69,{"$nulls":5},"直排小殿溪","达标"]
["2018-10-10",1355.71,29,{"$nulls":5},"直排小殿溪","达标"]
["2018-10-11",1448.71,18.31,{"$nulls":5},"直排小殿溪","达标"]
["2018-10-12",1491.8,16.21,{"$nulls":5},"直排小殿溪","达标"]
["2018-10-13",1490.93,17.23,{"$nulls":5},"直排小殿溪","达标"]
["2018-10-14",1511.87,16.17,{"$nulls":5},"直排小殿溪","达标"]
["2018-10-15",1495.97,16.15,{"$nulls":5},"直排小殿溪","达标"]
["2018-10-16",1048.14,15.59,{"$nulls":5},"直排小殿溪","达标"]
["2018-10-17",1468.88,16.23,{"$nulls":5},"直排小殿溪","达标"]
["2018-10-18",1430.8,15.48,7.78,1.34,0.95,4.5,0.091,"直排小殿溪","达标"]
["2018-10-19",1378.53,16.02,{"$nulls":5},"直排小殿溪","达标"]
["2018-10-20",1462.68,15.04,{"$nulls":5},"直排小殿溪","达标"]
["2018-10-21",1438.98,15.68,{"$nulls":5},"直排小殿溪","达标"]
["2018-10-22",1440.18,15.75,{"$nulls":5},"直排小殿溪","达标"]
["2018-10-23",1411.18,26.11,{"$nulls":5},"直排小殿溪","达标"]
["2018-10-24",1355.1,25.45,{"$nulls":5},"直排小殿溪","达标"]
["2018-10-25",1387,24.94,{"$nulls":5},"直排小殿溪","达标"]
["2018-10-26",1343.58,24.03,{"$nulls":5},"直排小殿溪","达标"]
["2018-10-27",1307.76,27.75,{"$nulls":5},"直排小殿溪","达标"]
["2018-10-28",1279.23,28.34,{"$nulls":5},"直排小殿溪","达标"]
["2018-10-29",1257.31,26.94,{"$nulls":5},"直排小殿溪","达标"]
["2018-10-30",1295,25.79,{"$nulls":5},"直排小殿溪","达标"]
["2018-10-31",1327.11,25.61,{"$nulls":5},"直排小殿溪","达标"]
["2018-11-01",1390.35,16.43,{"$nulls":5},"直排小殿溪","达标"]
["2018-11-02",1392.31,17.12,{"$nulls":5},"直排小殿溪","达标"]
["2018-11-03",1405.29,16.07,{"$nulls":5},"直排小殿溪","达标"]
["2018-11-04",1384.87,16.21,{"$nulls":5},"直排小殿溪","达标"]
["2018-11-05",1408.84,16.79,{"$nulls":5},"直排小殿溪","达标"]
["2018-11-06",1422.82,15.9,{"$nulls":5},"直排小殿溪","达标"]
["2018-11-07",1150.06,15.64,{"$nulls":5},"直排小殿溪","达标"]
["2018-11-08",1382.78,15.6,{"$nulls":5},"直排小殿溪","达标"]
["2018-11-09",1409.15,15.7,{"$nulls":5},"直排小殿溪","达标"]
["2018-11-10",1373.87,15.64,{"$nulls":5},"直排小殿溪","达标"]
["2018-11-11",1344.89,15.76,{"$nulls":5},"直排小殿溪","达标"]
["2018-11-12",1378.75,15.94,{"$nulls":5},"直排小殿溪","达标"]
["2018-11-13",1356.12,15.96,{"$nulls":5},"直排小殿溪","达标"]
["2018-11-14",1376.87,17.99,{"$nulls":5},"直排小殿溪","达标"]
["2018-11-15",1365.23,15.96,7.48,1.81,0.92,5,0.1,"直排小殿溪","达标"]
["2018-11-16",1365.32,16.02,{"$nulls":5},"直排小殿溪","达标"]
["2018-11-17",1404.04,15.69,{"$nulls":5},"直排小殿溪","达标"]
["2018-11-18",1398.95,15.67,{"$nulls":5},"直排小殿溪","达标"]
["2018-11-19",1385.41,15.62,{"$nulls":5},"直排小殿溪","达标"]
["2018-11-20",1466.55,15.57,{"$nulls":5},"直排小殿溪","达标"]
["2018-11-21",1534.55,17.33,{"$nulls":5},"直排小殿溪","达标"]
["2018-11-22",1505.33,15.46,{"$nulls":5},"直排小殿溪","达标"]
["2018-11-23",1502.38,15.58,{"$nulls":5},"直排小殿溪","达标"]
["2018-11-24",1597.64,16.1,{"$nulls":5},"直排小殿溪","达标"]
["2018-11-25",1516.87,14.42,{"$nulls":5},"直排小殿溪","达标"]
["2018-11-26",1522.57,13.64,{"$nulls":5},"直排小殿溪","达标"]
["2018-11-27",1575.94,16.91,{"$nulls":5},"直排小殿溪","达标"]
["2018-11-28",1603.72,17.15,{"$nulls":5},"直排小殿溪","达标"]
["2018-11-29",1556.29,20.51,{"$nulls":5},"直排小殿溪","达标"]
["2018-11-30",1585.23,17.17,{"$nulls":5},"直排小殿溪","达标"]
["2018-12-01",1553.22,16.47,{"$nulls":5},"直排小殿溪","达标"]
["2018-12-02",1562.86,18.37,{"$nulls":5},"直排小殿溪","达标"]
["2018-12-03",1571.79,18.75,{"$nulls":5},"直排小殿溪","达标"]
["2018-12-04",1559.37,17.07,{"$nulls":5},"直排小殿溪","达标"]
["2018-12-05",1548.11,16.19,{"$nulls":5},"直排小殿溪","达标"]
["2018-12-06",1545.38,16.05,{"$nulls":5},"直排小殿溪","达标"]
["2018-12-07",1621.96,15.62,{"$nulls":5},"直排小殿溪","达标"]
["2018-12-08",1590.59,15.59,{"$nulls":5},"直排小殿溪","达标"]
["2018-12-09",1460.4,18.62,{"$nulls":5},"直排小殿溪","达标"]
["2018-12-10",1477.14,20.73,{"$nulls":5},"直排小殿溪","达标"]
["2018-12-11",1507.77,16.88,{"$nulls":5},"直排小殿溪","达标"]
["2018-12-12",1482.58,17.2,{"$nulls":5},"直排小殿溪","达标"]
["2018-12-13",1527.86,16.72,7.69,0.29,0.53,3,0.044,"直排小殿溪","达标"]
["2018-12-14",1567.06,17.25,{"$nulls":5},"直排小殿溪","达标"]
["2018-12-15",1515.99,16.89,{"$nulls":5},"直排小殿溪","达标"]
["2018-12-16",1539.93,18.08,{"$nulls":5},"直排小殿溪","达标"]
["2018-12-17",1523.05,19.86,{"$nulls":5},"直排小殿溪","达标"]
["2018-12-18",1605.92,19.68,{"$nulls":5},"直排小殿溪","达标"]
["2018-12-19",1570.96,18.65,{"$nulls":5},"直排小殿溪","达标"]
["2018-12-20",1529.48,19.49,{"$nulls":5},"直排小殿溪","达标"]
["2018-12-21",1571.16,21.93,{"$nulls":5},"直排小殿溪","达标"]
["2018-12-22",1684.34,22.13,{"$nulls":5},"直排小殿溪","达标"]
["2018-12-23",1699.66,22.56,{"$nulls":5},"直排小殿溪","达标"]
["2018-12-24",1473.14,31.24,{"$nulls":5},"直排小殿溪","达标"]
["2018-12-25",1503.08,44.8,{"$nulls":5},"直排小殿溪","达标"]
["2018-12-26",1414.47,37.39,{"$nulls":5},"直排小殿溪","达标"]
["2018-12-27",1552.68,27.44,{"$nulls":5},"直排小殿溪","达标"]
["2018-12-28",1768.71,30.53,{"$nulls":5},"直排小殿溪","达标"]
["2018-12-29",1891.08,33.99,{"$nulls":5},"直排小殿溪","达标"]
["2018-12-30",1864.19,33.5,{"$nulls":5},"直排小殿溪","达标"]
["2018-12-31",1820.65,34.24,{"$nulls":5},"直排小殿溪","达标"]
["2019-01-01",1875.74,36.43,{"$nulls":5},"直排小殿溪","达标"]
["2019-01-02",1844.31,28.99,{"$nulls":5},"直排小殿溪","达标"]
["2019-01-03",1715.98,26.49,{"$nulls":5},"直排小殿溪","达标"]
["2019-01-04",1833.51,28.08,{"$nulls":5},"直排小殿溪","达标"]
["2019-01-05",1759.66,32.85,{"$nulls":5},"直排小殿溪","达标"]
["2019-01-06",1694.99,35.66,{"$nulls":5},"直排小殿溪","达标"]
["2019-01-07",1691.6,28.31,{"$nulls":5},"直排小殿溪","达标"]
["2019-01-08",1634.34,23.17,{"$nulls":5},"直排小殿溪","达标"]
["2019-01-09",1768.91,17.13,{"$nulls":5},"直排小殿溪","达标"]
["2019-01-10",1760.31,18.4,7.38,1.19,0.65,3.5,0.042,"直排小殿溪","达标"]
["2019-01-11",1636.26,15.74,{"$nulls":5},"直排小殿溪","达标"]
["2019-01-12",1643.15,15.36,{"$nulls":5},"直排小殿溪","达标"]
["2019-01-13",1754.33,12.41,{"$nulls":5},"直排小殿溪","达标"]
["2019-01-14",1723.33,13.41,{"$nulls":5},"直排小殿溪","达标"]
["2019-01-15",1761.33,16.89,{"$nulls":5},"直排小殿溪","达标"]
["2019-01-16",1712.45,14.12,{"$nulls":5},"直排小殿溪","达标"]
["2019-01-17",1772.71,13.16,{"$nulls":5},"直排小殿溪","达标"]
["2019-01-18",1827.17,12.87,{"$nulls":5},"直排小殿溪","达标"]
["2019-01-19",1794.52,14.84,{"$nulls":5},"直排小殿溪","达标"]
["2019-01-20",1809.16,16.74,{"$nulls":5},"直排小殿溪","达标"]
["2019-01-21",1755.06,15.12,{"$nulls":5},"直排小殿溪","达标"]
["2019-01-22",1729.92,16.49,{"$nulls":5},"直排小殿溪","达标"]
["2019-01-23",1764.09,16.6,{"$nulls":5},"直排小殿溪","达标"]
["2019-01-24",1748.73,17.53,{"$nulls":5},"直排小殿溪","达标"]
["2019-01-25",1766.39,17.24,{"$nulls":5},"直排小殿溪","达标"]
["2019-01-26",1802.34,16.98,{"$nulls":5},"直排小殿溪","达标"]
["2019-01-27",1725.36,17.44,{"$nulls":5},"直排小殿溪","达标"]
["2019-01-28",1778.37,17.6,{"$nulls":5},"直排小殿溪","达标"]
["2019-01-29",1789.29,15.59,{"$nulls":5},"直排小殿溪","达标"]
["2019-01-30",1782,14.87,{"$nulls":5},"直排小殿溪","达标"]
["2019-01-31",1807.4,16.09,{"$nulls":5},"直排小殿溪","达标"]
["2019-02-01",1742.16,14.49,{"$nulls":5},"直排小殿溪","达标"]
["2019-02-02",1717.35,14.6,{"$nulls":5},"直排小殿溪","达标"]
["2019-02-03",1755.72,13.48,{"$nulls":5},"直排小殿溪","达标"]
["2019-02-04",1718.87,13.37,{"$nulls":5},"直排小殿溪","达标"]
["2019-02-05",1609.41,13.37,{"$nulls":5},"直排小殿溪","达标"]
["2019-02-06",1676.36,13.15,{"$nulls":5},"直排小殿溪","达标"]
["2019-02-07",1673.82,13.5,{"$nulls":5},"直排小殿溪","达标"]
["2019-02-08",1727.52,14.45,{"$nulls":5},"直排小殿溪","达标"]
["2019-02-09",1753.99,14.83,{"$nulls":5},"直排小殿溪","达标"]
["2019-02-10",1805.88,14.87,{"$nulls":5},"直排小殿溪","达标"]
["2019-02-11",1804.77,14.46,{"$nulls":5},"直排小殿溪","达标"]
["2019-02-12",1791.52,14.26,{"$nulls":5},"直排小殿溪","达标"]
["2019-02-13",1662.22,14.66,{"$nulls":5},"直排小殿溪","达标"]
["2019-02-14",1921.3,15.18,7.4,2.37,0.95,4,0.038,"直排小殿溪","达标"]
["2019-02-15",1908.89,15.07,{"$nulls":5},"直排小殿溪","达标"]
["2019-02-16",1930.05,14.01,{"$nulls":5},"直排小殿溪","达标"]
["2019-02-17",1922.19,14.74,{"$nulls":5},"直排小殿溪","达标"]
["2019-02-18",1969.54,16.3,{"$nulls":5},"直排小殿溪","达标"]
["2019-02-19",1983.3,18.54,{"$nulls":5},"直排小殿溪","达标"]
["2019-02-20",1931.65,17.12,{"$nulls":5},"直排小殿溪","达标"]
["2019-02-21",1974.63,15.52,{"$nulls":5},"直排小殿溪","达标"]
["2019-02-22",2037.12,15.09,{"$nulls":5},"直排小殿溪","达标"]
["2019-02-23",2027.11,18.25,{"$nulls":5},"直排小殿溪","达标"]
["2019-02-24",2018.56,18.63,{"$nulls":5},"直排小殿溪","达标"]
["2019-02-25",1406.87,16,{"$nulls":5},"直排小殿溪","达标"]
["2019-02-26",1017.22,15.13,{"$nulls":5},"直排小殿溪","达标"]
["2019-02-27",1324.23,20.67,{"$nulls":5},"直排小殿溪","达标"]
["2019-02-28",1752.29,20.03,{"$nulls":5},"直排小殿溪","达标"]
["2019-03-01",1527.65,27.37,{"$nulls":5},"直排小殿溪","达标"]
["2019-03-02",1546.94,25.62,{"$nulls":5},"直排小殿溪","达标"]
["2019-03-03",1525.63,38.15,{"$nulls":5},"直排小殿溪","达标"]
["2019-03-04",1533.14,42.01,{"$nulls":5},"直排小殿溪","达标"]
["2019-03-05",1766.79,42.76,{"$nulls":5},"直排小殿溪","达标"]
["2019-03-06",1777.32,38.02,{"$nulls":5},"直排小殿溪","达标"]
["2019-03-07",1486.63,41.76,{"$nulls":5},"直排小殿溪","达标"]
["2019-03-08",1773.6,38.58,{"$nulls":5},"直排小殿溪","达标"]
["2019-03-09",1718.37,27.03,{"$nulls":5},"直排小殿溪","达标"]
["2019-03-10",1780.95,22.75,{"$nulls":5},"直排小殿溪","达标"]
["2019-03-11",1763.69,26.55,{"$nulls":5},"直排小殿溪","达标"]
["2019-03-12",1773.44,29.28,{"$nulls":5},"直排小殿溪","达标"]
["2019-03-13",1717.05,29.46,{"$nulls":5},"直排小殿溪","达标"]
["2019-03-14",1754.42,27.77,7.46,3.27,0.87,8,0.042,"直排小殿溪","达标"]
["2019-03-15",1759.32,26.29,{"$nulls":5},"直排小殿溪","达标"]
["2019-03-16",1721.18,26.49,{"$nulls":5},"直排小殿溪","达标"]
["2019-03-17",1695.87,26.8,{"$nulls":5},"直排小殿溪","达标"]
["2019-03-18",1809.9,23.82,{"$nulls":5},"直排小殿溪","达标"]
["2019-03-19",1943.34,19.5,{"$nulls":5},"直排小殿溪","达标"]
["2019-03-20",1824.17,20.03,{"$nulls":5},"直排小殿溪","达标"]
["2019-03-21",1756.82,20.14,{"$nulls":5},"直排小殿溪","达标"]
["2019-03-22",1959.39,17.86,{"$nulls":5},"直排小殿溪","达标"]
["2019-03-23",1984.5,15.43,{"$nulls":5},"直排小殿溪","达标"]
["2019-03-24",1941.94,17.99,{"$nulls":5},"直排小殿溪","达标"]
["2019-03-25",1817.59,32.39,{"$nulls":5},"直排小殿溪","达标"]
["2019-03-26",1766.44,37.38,{"$nulls":5},"直排小殿溪","达标"]
["2019-03-27",1525,21.61,{"$nulls":5},"直排小殿溪","达标"]
["2019-03-28",2174,26.32,{"$nulls":5},"直排小殿溪","达标"]
["2019-03-29",1421,22.31,{"$nulls":5},"直排小殿溪","达标"]
["2019-03-30",1690.22,14.78,{"$nulls":5},"直排小殿溪","达标"]
["2019-03-31",1796.51,14.22,{"$nulls":5},"直排小殿溪","达标"]
["2019-04-01",1709.29,21.93,{"$nulls":5},"直排小殿溪","达标"]
["2019-04-02",1692.74,27.52,{"$nulls":5},"直排小殿溪","达标"]
["2019-04-03",2162.05,21.89,{"$nulls":5},"直排小殿溪","达标"]
["2019-04-04"]
["2019-04-05"]
["2019-04-06"]
["2019-04-07"]
["2019-04-08"]
["2019-04-09"]
["2019-04-10"]
["2019-04-11"]
["2019-04-12"]
["2019-04-13"]
["2019-04-14"]
["2019-04-15"]
["2019-04-16"]
["2019-04-17"]
["2019-04-18"]
["2019-04-19"]
["2019-04-20"]
["2019-04-21"]
["2019-04-22"]
["2019-04-23"]
["2019-04-24"]
["2019-04-25"]
["2019-04-26"]
["2019-04-27"]
["2019-04-28"]
["2019-04-29"]
["2019-04-30"]
["2019-05-01"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}